## EPREL
EPREL DATA
*Data in [] brackets n/a
Non-directional or directional | Non-Directional - NDLS
Energy efficiency class | F
Useful luminous flux (Φuse) | 207 | lm
Correlated colour temperature | 2800 | K
On-mode power (Pon ) | 2.1 | W
Standby power (Psb ) | [P-sb] | W
Networked standby power (Pnet) for CLS | [P-net] | W
Colour rendering index | 91
Height | 0 | mm
Width | 0 | mm
Depth | 37 | mm
Chromaticity coordinates (x,y) | 0.456 | 0.415
Peak luminous intensity (cd) | 68 | cd
Max. beam angle in degrees | 119.5 | °
R9 colour rendering index value | 53
Survival factor | [n/a]
Lumen maintenance factor | [n/a]
Displacement factor (cosϕ) | 0 |  |  | (Right-click frame to save directly as picture min. 1024x1024 jpg file)
Colour consistency in McAdam ellipses | 3 | SDCM
Flicker metric (PstLM) | 0
Stroboscopic effect metric (SVM) | 0
Spectral distribution
Wavelenght [nm] | Output [W] | Peak | 0.004322 | W
250 | 0% | Output: | 207 | lm
| 0% | Peak: | 68 | cd
| 0% | Lux@50cm: | 272 | Lux
| 0% | Power: | 2.1 | W
| 0% | Power Factor: | 1
| 0% | ηTM - Efficacy | 98.5714 | lm/W
0%
| 0% | Lumen in 120 deg angles | 159 | lm
| 0% | Beam angle | 119.5 | deg
| 0% | Lumen in 90 deg angles | 106 | lm
| 0% | Directionality factor | 1
0%
0%
0%
0%
0%
0%
0%
0%
0%
0%
0%
0%
0%
0%
0%
0%
0%
0%
0%
0%
0%
0%
0%
0%
0%
0%
0%
0%
0%
0%
0%
0%
0%
0%
0%
0%
0%
0%
0%
300 | 0%
0%
0%
0%
0%
0%
0%
0%
0%
0%
0%
0%
0%
0%
0%
0%
0%
0%
0%
0%
0%
0%
0%
0%
0%
0%
0%
0%
0%
0%
0%
0%
0%
0%
0%
0%
0%
0%
0%
0%
0%
0%
0%
0%
0%
0%
0%
0%
0%
0%
350 | 0%
0%
0%
0%
0%
0%
0%
0%
0%
0%
1.758%
0.5784%
0.4165%
0%
0.1157%
1.504%
0.1388%
0.7173%
1.018%
0.7404%
0.2776%
0.2082%
0.2314%
1.689%
0%
0.1388%
0.6016%
2.429%
0.3239%
0.1157%
0.509%
0%
0.1388%
0.6478%
0.5784%
0.04627%
0.02314%
0.5553%
0.4165%
0.3239%
0.5553%
0.02314%
0.3933%
0.3239%
0.3471%
0.1388%
0.2776%
0.2082%
1.111%
0.3239%
400 | 0.9024%
0.7867%
0.4859%
0.509%
0.3933%
0.6016%
0.7635%
1.203%
1.365%
1.342%
1.087%
1.273%
1.99%
2.291%
2.082%
2.453%
2.638%
3.1%
3.355%
4.35%
4.072%
4.998%
5.507%
6.178%
6.478%
7.797%
8.862%
9.787%
11.31%
12.52%
13.72%
15.2%
16.96%
18.49%
20.64%
22.88%
25.47%
28.3%
30.89%
33.66%
34.13%
35.4%
35.47%
34.73%
32.07%
29.73%
26.98%
25.34%
23.74%
23.32%
450 | 22.28%
20.94%
19.57%
20.13%
18.88%
19.18%
18.56%
17.35%
17.52%
16.4%
15.69%
15.39%
14.69%
14.58%
14.16%
13.7%
14.21%
14.3%
14.3%
14.39%
15.29%
15.16%
15.96%
15.69%
16.75%
16.73%
17.54%
18.21%
18.58%
19.13%
19.27%
20.04%
21.26%
21.56%
21.93%
22.88%
23.69%
24.29%
24.62%
25.34%
26.61%
26.93%
27.7%
28.81%
29.38%
29.55%
30.38%
31.26%
31.88%
32.58%
500 | 33.23%
33.57%
34.08%
35.01%
35.4%
36.21%
36.9%
37.83%
37.76%
38.85%
39.36%
40%
40.63%
41.12%
41.67%
42.2%
42.8%
43.45%
44.17%
44.66%
45%
46.27%
46.48%
47.25%
47.66%
48.17%
49.17%
49.49%
50.02%
50.23%
51.18%
51.23%
51.9%
51.94%
52.71%
53.47%
53.82%
54.35%
54.86%
55.44%
55.95%
56.5%
56.94%
57.64%
58.14%
58.35%
59.14%
59.28%
59.69%
60.2%
550 | 60.53%
60.74%
61.31%
61.57%
62.03%
62.84%
62.91%
63.37%
64%
64.72%
65.13%
65.78%
66.29%
66.89%
67.63%
67.84%
68.32%
68.53%
69.13%
69.62%
70.06%
70.73%
71.17%
71.63%
72.28%
73.09%
73.79%
74.2%
75.06%
75.71%
76.72%
77.33%
78.27%
79.25%
79.87%
80.84%
81.49%
82.35%
82.9%
83.83%
84.94%
85.4%
86.16%
86.46%
87.51%
88.34%
89.13%
89.87%
90.37%
90.95%
600 | 92.06%
92.41%
93.52%
94.1%
94.59%
95.3%
96.16%
96.78%
96.97%
97.43%
97.99%
98.45%
98.54%
98.91%
99.14%
99.35%
99.61%
99.72%
99.81%
99.72%
100%
99.91%
99.4%
99.75%
99.77%
99.58%
99.86%
99.4%
99.44%
99.31%
98.7%
98.36%
98.08%
97.57%
97.52%
96.51%
96.02%
95.19%
94.66%
93.75%
93.06%
92.32%
91.35%
91.07%
90.17%
89.06%
88.25%
87.37%
86.35%
85.4%
650 | 84.1%
83.53%
82.53%
81.4%
80.26%
79.5%
78.39%
77.56%
76.65%
75.13%
74.41%
73.65%
72.14%
70.8%
69.69%
68.42%
67.33%
65.94%
65.11%
63.98%
62.75%
61.5%
60.32%
59.16%
58.03%
57.15%
55.58%
54.47%
53.15%
52.22%
51.25%
50.09%
49.33%
48.17%
47.8%
46.23%
45.84%
44.72%
43.59%
42.83%
41.65%
40.79%
39.54%
38.32%
37.67%
36.86%
36.16%
35.26%
33.97%
33.36%
700 | 32.46%
31.79%
30.8%
30.52%
29.64%
28.67%
28.09%
27.46%
26.54%
25.61%
24.92%
24.16%
23.55%
23.28%
22.74%
22.14%
21.45%
20.82%
20.13%
19.78%
19.3%
19%
18.23%
17.77%
17.08%
16.96%
16.61%
15.78%
15.22%
14.78%
14.41%
14.32%
13.95%
13.23%
12.82%
12.54%
12.1%
11.71%
11.66%
11.5%
10.76%
10.48%
9.949%
9.857%
9.88%
9.509%
9.209%
8.815%
8.237%
8.237%
750 | 7.982%
7.612%
7.658%
7.52%
7.173%
6.964%
6.988%
6.525%
6.178%
5.969%
5.9%
6.039%
5.646%
5.738%
5.484%
5.113%
5.391%
4.72%
4.743%
4.836%
4.466%
4.211%
4.257%
4.373%
4.234%
3.702%
3.771%
3.471%
3.679%
3.447%
3.332%
3.355%
3.401%
3.216%
2.985%
3.17%
2.753%
2.776%
2.545%
2.846%
2.938%
2.406%
2.73%
2.568%
2.591%
2.406%
2.36%
2.776%
2.291%
2.36%
800 | 2.106%

## Viso csv input
EPREL DATA;;
*Data in [] brackets n/a;;
;;
Non-directional or directional:;[NDLS/DLS];
Energy efficiency class;[A/B/C/D/E/F/G] ( b );
Useful luminous flux (? use );[Phi- use];
Correlated colour temperature;2786; | 2786
On-mode power (P on );2.1;W | 2.1
Standby power (P sb );[Psb];W
Networked standby power (P net ) for CLS;[Pnet];W
Colour rendering index;91.3; | 91.3
Height;0;mm | 0
Width;0;mm | 0
Depth;37;mm | 37
Chromaticity coordinates;0.456;0.415 | 0.456 | 0.415
Peak luminous intensity (cd);67.6;cd | 67.6
Beam angle in degrees;119.5; | 119.5
R9 colour rendering index value;53.1; | 53.1
Survival factor;[n/a];
Lumen maintenance factor;[n/a];
Displacement factor (cos ?1);n/a;
Colour consistency in McAdam ellipses;n/a; | 3
Flicker metric (Pst LM);n/a;
Stroboscopic effect metric (SVM);n/a;
;;
Lumen package;207; | 207
Power Factor;1.0; | 1
Lumen in 120 deg angles;159; | 159
Lumen in 90 deg angles;106; | 106
;;
;;
Spectral distribution;;
Wavelenght [nm];Ouput [W]; | Ouput [W]
250;n/a; | n/a
251;n/a; | n/a
252;n/a; | n/a
253;n/a; | n/a
254;n/a; | n/a
255;n/a; | n/a
256;n/a; | n/a
257;n/a; | n/a
258;n/a; | n/a
259;n/a; | n/a
260;n/a; | n/a
261;n/a; | n/a
262;n/a; | n/a
263;n/a; | n/a
264;n/a; | n/a
265;n/a; | n/a
266;n/a; | n/a
267;n/a; | n/a
268;n/a; | n/a
269;n/a; | n/a
270;n/a; | n/a
271;n/a; | n/a
272;n/a; | n/a
273;n/a; | n/a
274;n/a; | n/a
275;n/a; | n/a
276;n/a; | n/a
277;n/a; | n/a
278;n/a; | n/a
279;n/a; | n/a
280;n/a; | n/a
281;n/a; | n/a
282;n/a; | n/a
283;n/a; | n/a
284;n/a; | n/a
285;n/a; | n/a
286;n/a; | n/a
287;n/a; | n/a
288;n/a; | n/a
289;n/a; | n/a
290;n/a; | n/a
291;n/a; | n/a
292;n/a; | n/a
293;n/a; | n/a
294;n/a; | n/a
295;n/a; | n/a
296;n/a; | n/a
297;n/a; | n/a
298;n/a; | n/a
299;n/a; | n/a
300;n/a; | n/a
301;n/a; | n/a
302;n/a; | n/a
303;n/a; | n/a
304;n/a; | n/a
305;n/a; | n/a
306;n/a; | n/a
307;n/a; | n/a
308;n/a; | n/a
309;n/a; | n/a
310;n/a; | n/a
311;n/a; | n/a
312;n/a; | n/a
313;n/a; | n/a
314;n/a; | n/a
315;n/a; | n/a
316;n/a; | n/a
317;n/a; | n/a
318;n/a; | n/a
319;n/a; | n/a
320;n/a; | n/a
321;n/a; | n/a
322;n/a; | n/a
323;n/a; | n/a
324;n/a; | n/a
325;n/a; | n/a
326;n/a; | n/a
327;n/a; | n/a
328;n/a; | n/a
329;n/a; | n/a
330;n/a; | n/a
331;n/a; | n/a
332;n/a; | n/a
333;n/a; | n/a
334;n/a; | n/a
335;n/a; | n/a
336;n/a; | n/a
337;n/a; | n/a
338;n/a; | n/a
339;n/a; | n/a
340;n/a; | n/a
341;n/a; | n/a
342;n/a; | n/a
343;n/a; | n/a
344;n/a; | n/a
345;n/a; | n/a
346;n/a; | n/a
347;n/a; | n/a
348;n/a; | n/a
349;n/a; | n/a
350;n/a; | n/a
351;n/a; | n/a
352;n/a; | n/a
353;n/a; | n/a
354;n/a; | n/a
355;n/a; | n/a
356;n/a; | n/a
357;n/a; | n/a
358;n/a; | n/a
359;n/a; | n/a
360;0.000076; | 7.6e-05
361;0.000025; | 2.5e-05
362;0.000018; | 1.8e-05
363;0.000000; | 0
364;0.000005; | 5e-06
365;0.000065; | 6.5e-05
366;0.000006; | 6e-06
367;0.000031; | 3.1e-05
368;0.000044; | 4.4e-05
369;0.000032; | 3.2e-05
370;0.000012; | 1.2e-05
371;0.000009; | 9e-06
372;0.000010; | 1e-05
373;0.000073; | 7.3e-05
374;0.000000; | 0
375;0.000006; | 6e-06
376;0.000026; | 2.6e-05
377;0.000105; | 0.000105
378;0.000014; | 1.4e-05
379;0.000005; | 5e-06
380;0.000022; | 2.2e-05
381;0.000000; | 0
382;0.000006; | 6e-06
383;0.000028; | 2.8e-05
384;0.000025; | 2.5e-05
385;0.000002; | 2e-06
386;0.000001; | 1e-06
387;0.000024; | 2.4e-05
388;0.000018; | 1.8e-05
389;0.000014; | 1.4e-05
390;0.000024; | 2.4e-05
391;0.000001; | 1e-06
392;0.000017; | 1.7e-05
393;0.000014; | 1.4e-05
394;0.000015; | 1.5e-05
395;0.000006; | 6e-06
396;0.000012; | 1.2e-05
397;0.000009; | 9e-06
398;0.000048; | 4.8e-05
399;0.000014; | 1.4e-05
400;0.000039; | 3.9e-05
401;0.000034; | 3.4e-05
402;0.000021; | 2.1e-05
403;0.000022; | 2.2e-05
404;0.000017; | 1.7e-05
405;0.000026; | 2.6e-05
406;0.000033; | 3.3e-05
407;0.000052; | 5.2e-05
408;0.000059; | 5.9e-05
409;0.000058; | 5.8e-05
410;0.000047; | 4.7e-05
411;0.000055; | 5.5e-05
412;0.000086; | 8.6e-05
413;0.000099; | 9.9e-05
414;0.000090; | 9e-05
415;0.000106; | 0.000106
416;0.000114; | 0.000114
417;0.000134; | 0.000134
418;0.000145; | 0.000145
419;0.000188; | 0.000188
420;0.000176; | 0.000176
421;0.000216; | 0.000216
422;0.000238; | 0.000238
423;0.000267; | 0.000267
424;0.000280; | 0.00028
425;0.000337; | 0.000337
426;0.000383; | 0.000383
427;0.000423; | 0.000423
428;0.000489; | 0.000489
429;0.000541; | 0.000541
430;0.000593; | 0.000593
431;0.000657; | 0.000657
432;0.000733; | 0.000733
433;0.000799; | 0.000799
434;0.000892; | 0.000892
435;0.000989; | 0.000989
436;0.001101; | 0.001101
437;0.001223; | 0.001223
438;0.001335; | 0.001335
439;0.001455; | 0.001455
440;0.001475; | 0.001475
441;0.001530; | 0.00153
442;0.001533; | 0.001533
443;0.001501; | 0.001501
444;0.001386; | 0.001386
445;0.001285; | 0.001285
446;0.001166; | 0.001166
447;0.001095; | 0.001095
448;0.001026; | 0.001026
449;0.001008; | 0.001008
450;0.000963; | 0.000963
451;0.000905; | 0.000905
452;0.000846; | 0.000846
453;0.000870; | 0.00087
454;0.000816; | 0.000816
455;0.000829; | 0.000829
456;0.000802; | 0.000802
457;0.000750; | 0.00075
458;0.000757; | 0.000757
459;0.000709; | 0.000709
460;0.000678; | 0.000678
461;0.000665; | 0.000665
462;0.000635; | 0.000635
463;0.000630; | 0.00063
464;0.000612; | 0.000612
465;0.000592; | 0.000592
466;0.000614; | 0.000614
467;0.000618; | 0.000618
468;0.000618; | 0.000618
469;0.000622; | 0.000622
470;0.000661; | 0.000661
471;0.000655; | 0.000655
472;0.000690; | 0.00069
473;0.000678; | 0.000678
474;0.000724; | 0.000724
475;0.000723; | 0.000723
476;0.000758; | 0.000758
477;0.000787; | 0.000787
478;0.000803; | 0.000803
479;0.000827; | 0.000827
480;0.000833; | 0.000833
481;0.000866; | 0.000866
482;0.000919; | 0.000919
483;0.000932; | 0.000932
484;0.000948; | 0.000948
485;0.000989; | 0.000989
486;0.001024; | 0.001024
487;0.001050; | 0.00105
488;0.001064; | 0.001064
489;0.001095; | 0.001095
490;0.001150; | 0.00115
491;0.001164; | 0.001164
492;0.001197; | 0.001197
493;0.001245; | 0.001245
494;0.001270; | 0.00127
495;0.001277; | 0.001277
496;0.001313; | 0.001313
497;0.001351; | 0.001351
498;0.001378; | 0.001378
499;0.001408; | 0.001408
500;0.001436; | 0.001436
501;0.001451; | 0.001451
502;0.001473; | 0.001473
503;0.001513; | 0.001513
504;0.001530; | 0.00153
505;0.001565; | 0.001565
506;0.001595; | 0.001595
507;0.001635; | 0.001635
508;0.001632; | 0.001632
509;0.001679; | 0.001679
510;0.001701; | 0.001701
511;0.001729; | 0.001729
512;0.001756; | 0.001756
513;0.001777; | 0.001777
514;0.001801; | 0.001801
515;0.001824; | 0.001824
516;0.001850; | 0.00185
517;0.001878; | 0.001878
518;0.001909; | 0.001909
519;0.001930; | 0.00193
520;0.001945; | 0.001945
521;0.002000; | 0.002
522;0.002009; | 0.002009
523;0.002042; | 0.002042
524;0.002060; | 0.00206
525;0.002082; | 0.002082
526;0.002125; | 0.002125
527;0.002139; | 0.002139
528;0.002162; | 0.002162
529;0.002171; | 0.002171
530;0.002212; | 0.002212
531;0.002214; | 0.002214
532;0.002243; | 0.002243
533;0.002245; | 0.002245
534;0.002278; | 0.002278
535;0.002311; | 0.002311
536;0.002326; | 0.002326
537;0.002349; | 0.002349
538;0.002371; | 0.002371
539;0.002396; | 0.002396
540;0.002418; | 0.002418
541;0.002442; | 0.002442
542;0.002461; | 0.002461
543;0.002491; | 0.002491
544;0.002513; | 0.002513
545;0.002522; | 0.002522
546;0.002556; | 0.002556
547;0.002562; | 0.002562
548;0.002580; | 0.00258
549;0.002602; | 0.002602
550;0.002616; | 0.002616
551;0.002625; | 0.002625
552;0.002650; | 0.00265
553;0.002661; | 0.002661
554;0.002681; | 0.002681
555;0.002716; | 0.002716
556;0.002719; | 0.002719
557;0.002739; | 0.002739
558;0.002766; | 0.002766
559;0.002797; | 0.002797
560;0.002815; | 0.002815
561;0.002843; | 0.002843
562;0.002865; | 0.002865
563;0.002891; | 0.002891
564;0.002923; | 0.002923
565;0.002932; | 0.002932
566;0.002953; | 0.002953
567;0.002962; | 0.002962
568;0.002988; | 0.002988
569;0.003009; | 0.003009
570;0.003028; | 0.003028
571;0.003057; | 0.003057
572;0.003076; | 0.003076
573;0.003096; | 0.003096
574;0.003124; | 0.003124
575;0.003159; | 0.003159
576;0.003189; | 0.003189
577;0.003207; | 0.003207
578;0.003244; | 0.003244
579;0.003272; | 0.003272
580;0.003316; | 0.003316
581;0.003342; | 0.003342
582;0.003383; | 0.003383
583;0.003425; | 0.003425
584;0.003452; | 0.003452
585;0.003494; | 0.003494
586;0.003522; | 0.003522
587;0.003559; | 0.003559
588;0.003583; | 0.003583
589;0.003623; | 0.003623
590;0.003671; | 0.003671
591;0.003691; | 0.003691
592;0.003724; | 0.003724
593;0.003737; | 0.003737
594;0.003782; | 0.003782
595;0.003818; | 0.003818
596;0.003852; | 0.003852
597;0.003884; | 0.003884
598;0.003906; | 0.003906
599;0.003931; | 0.003931
600;0.003979; | 0.003979
601;0.003994; | 0.003994
602;0.004042; | 0.004042
603;0.004067; | 0.004067
604;0.004088; | 0.004088
605;0.004119; | 0.004119
606;0.004156; | 0.004156
607;0.004183; | 0.004183
608;0.004191; | 0.004191
609;0.004211; | 0.004211
610;0.004235; | 0.004235
611;0.004255; | 0.004255
612;0.004259; | 0.004259
613;0.004275; | 0.004275
614;0.004285; | 0.004285
615;0.004294; | 0.004294
616;0.004305; | 0.004305
617;0.004310; | 0.00431
618;0.004314; | 0.004314
619;0.004310; | 0.00431
620;0.004322; | 0.004322
621;0.004318; | 0.004318
622;0.004296; | 0.004296
623;0.004311; | 0.004311
624;0.004312; | 0.004312
625;0.004304; | 0.004304
626;0.004316; | 0.004316
627;0.004296; | 0.004296
628;0.004298; | 0.004298
629;0.004292; | 0.004292
630;0.004266; | 0.004266
631;0.004251; | 0.004251
632;0.004239; | 0.004239
633;0.004217; | 0.004217
634;0.004215; | 0.004215
635;0.004171; | 0.004171
636;0.004150; | 0.00415
637;0.004114; | 0.004114
638;0.004091; | 0.004091
639;0.004052; | 0.004052
640;0.004022; | 0.004022
641;0.003990; | 0.00399
642;0.003948; | 0.003948
643;0.003936; | 0.003936
644;0.003897; | 0.003897
645;0.003849; | 0.003849
646;0.003814; | 0.003814
647;0.003776; | 0.003776
648;0.003732; | 0.003732
649;0.003691; | 0.003691
650;0.003635; | 0.003635
651;0.003610; | 0.00361
652;0.003567; | 0.003567
653;0.003518; | 0.003518
654;0.003469; | 0.003469
655;0.003436; | 0.003436
656;0.003388; | 0.003388
657;0.003352; | 0.003352
658;0.003313; | 0.003313
659;0.003247; | 0.003247
660;0.003216; | 0.003216
661;0.003183; | 0.003183
662;0.003118; | 0.003118
663;0.003060; | 0.00306
664;0.003012; | 0.003012
665;0.002957; | 0.002957
666;0.002910; | 0.00291
667;0.002850; | 0.00285
668;0.002814; | 0.002814
669;0.002765; | 0.002765
670;0.002712; | 0.002712
671;0.002658; | 0.002658
672;0.002607; | 0.002607
673;0.002557; | 0.002557
674;0.002508; | 0.002508
675;0.002470; | 0.00247
676;0.002402; | 0.002402
677;0.002354; | 0.002354
678;0.002297; | 0.002297
679;0.002257; | 0.002257
680;0.002215; | 0.002215
681;0.002165; | 0.002165
682;0.002132; | 0.002132
683;0.002082; | 0.002082
684;0.002066; | 0.002066
685;0.001998; | 0.001998
686;0.001981; | 0.001981
687;0.001933; | 0.001933
688;0.001884; | 0.001884
689;0.001851; | 0.001851
690;0.001800; | 0.0018
691;0.001763; | 0.001763
692;0.001709; | 0.001709
693;0.001656; | 0.001656
694;0.001628; | 0.001628
695;0.001593; | 0.001593
696;0.001563; | 0.001563
697;0.001524; | 0.001524
698;0.001468; | 0.001468
699;0.001442; | 0.001442
700;0.001403; | 0.001403
701;0.001374; | 0.001374
702;0.001331; | 0.001331
703;0.001319; | 0.001319
704;0.001281; | 0.001281
705;0.001239; | 0.001239
706;0.001214; | 0.001214
707;0.001187; | 0.001187
708;0.001147; | 0.001147
709;0.001107; | 0.001107
710;0.001077; | 0.001077
711;0.001044; | 0.001044
712;0.001018; | 0.001018
713;0.001006; | 0.001006
714;0.000983; | 0.000983
715;0.000957; | 0.000957
716;0.000927; | 0.000927
717;0.000900; | 0.0009
718;0.000870; | 0.00087
719;0.000855; | 0.000855
720;0.000834; | 0.000834
721;0.000821; | 0.000821
722;0.000788; | 0.000788
723;0.000768; | 0.000768
724;0.000738; | 0.000738
725;0.000733; | 0.000733
726;0.000718; | 0.000718
727;0.000682; | 0.000682
728;0.000658; | 0.000658
729;0.000639; | 0.000639
730;0.000623; | 0.000623
731;0.000619; | 0.000619
732;0.000603; | 0.000603
733;0.000572; | 0.000572
734;0.000554; | 0.000554
735;0.000542; | 0.000542
736;0.000523; | 0.000523
737;0.000506; | 0.000506
738;0.000504; | 0.000504
739;0.000497; | 0.000497
740;0.000465; | 0.000465
741;0.000453; | 0.000453
742;0.000430; | 0.00043
743;0.000426; | 0.000426
744;0.000427; | 0.000427
745;0.000411; | 0.000411
746;0.000398; | 0.000398
747;0.000381; | 0.000381
748;0.000356; | 0.000356
749;0.000356; | 0.000356
750;0.000345; | 0.000345
751;0.000329; | 0.000329
752;0.000331; | 0.000331
753;0.000325; | 0.000325
754;0.000310; | 0.00031
755;0.000301; | 0.000301
756;0.000302; | 0.000302
757;0.000282; | 0.000282
758;0.000267; | 0.000267
759;0.000258; | 0.000258
760;0.000255; | 0.000255
761;0.000261; | 0.000261
762;0.000244; | 0.000244
763;0.000248; | 0.000248
764;0.000237; | 0.000237
765;0.000221; | 0.000221
766;0.000233; | 0.000233
767;0.000204; | 0.000204
768;0.000205; | 0.000205
769;0.000209; | 0.000209
770;0.000193; | 0.000193
771;0.000182; | 0.000182
772;0.000184; | 0.000184
773;0.000189; | 0.000189
774;0.000183; | 0.000183
775;0.000160; | 0.00016
776;0.000163; | 0.000163
777;0.000150; | 0.00015
778;0.000159; | 0.000159
779;0.000149; | 0.000149
780;0.000144; | 0.000144
781;0.000145; | 0.000145
782;0.000147; | 0.000147
783;0.000139; | 0.000139
784;0.000129; | 0.000129
785;0.000137; | 0.000137
786;0.000119; | 0.000119
787;0.000120; | 0.00012
788;0.000110; | 0.00011
789;0.000123; | 0.000123
790;0.000127; | 0.000127
791;0.000104; | 0.000104
792;0.000118; | 0.000118
793;0.000111; | 0.000111
794;0.000112; | 0.000112
795;0.000104; | 0.000104
796;0.000102; | 0.000102
797;0.000120; | 0.00012
798;0.000099; | 9.9e-05
799;0.000102; | 0.000102
800;0.000091; | 9.1e-05
;;
;;
Beam Angles;;
C-plane;Angle; | Angle
0;119.5; | 119.5
5;119.5; | 119.5
10;119.5; | 119.5
15;119.5; | 119.5
20;119.5; | 119.5
25;119.5; | 119.5
30;119.5; | 119.5
35;119.5; | 119.5
40;119.5; | 119.5
45;119.5; | 119.5
50;119.5; | 119.5
55;119.5; | 119.5
60;119.5; | 119.5
65;119.5; | 119.5
70;119.5; | 119.5
75;119.5; | 119.5
80;119.5; | 119.5
85;119.5; | 119.5
90;119.5; | 119.5
95;119.5; | 119.5
100;119.5; | 119.5
105;119.5; | 119.5
110;119.5; | 119.5
115;119.5; | 119.5
120;119.5; | 119.5
125;119.5; | 119.5
130;119.5; | 119.5
135;119.5; | 119.5
140;119.5; | 119.5
145;119.5; | 119.5
150;119.5; | 119.5
155;119.5; | 119.5
160;119.5; | 119.5
165;119.5; | 119.5
170;119.5; | 119.5
175;119.5; | 119.5
180;119.5; | 119.5
185;119.5; | 119.5
190;119.5; | 119.5
195;119.5; | 119.5
200;119.5; | 119.5
205;119.5; | 119.5
210;119.5; | 119.5
215;119.5; | 119.5
220;119.5; | 119.5
225;119.5; | 119.5
230;119.5; | 119.5
235;119.5; | 119.5
240;119.5; | 119.5
245;119.5; | 119.5
250;119.5; | 119.5
255;119.5; | 119.5
260;119.5; | 119.5
265;119.5; | 119.5
270;119.5; | 119.5
275;119.5; | 119.5
280;119.5; | 119.5
285;119.5; | 119.5
290;119.5; | 119.5
295;119.5; | 119.5
300;119.5; | 119.5
305;119.5; | 119.5
310;119.5; | 119.5
315;119.5; | 119.5
320;119.5; | 119.5
325;119.5; | 119.5
330;119.5; | 119.5
335;119.5; | 119.5
340;119.5; | 119.5
345;119.5; | 119.5
350;119.5; | 119.5
355;119.5; | 119.5